Applications of infra-red filtering in electronic technology

by I. Benkő

Department of Energy, Faculty of Mechanical Engineering, Technical University of Budapest, H-1521 Budapest, Hungary

Abstract

Computer processing of the IR-images speeds up considerably the evaluation of the measurement results. Processing of digitalised IR-images may be carried out by a variety of approaches and methods. On the whole, it may be said that it is expedient to suit the strategy and the method of evaluation to the phenomenon under scrutiny. This, in some cases, calls both for heat engineering experience and technical intuition. Image filtering is a special, not commonly used method of infra-red image analysis. Image filtering in general is suitable for detecting some thermal faults which are difficult to percept otherwise. Image filtering is based on the adequate transformation of the temperature field, i.e. the modification of the temperature values in the pixels of the image.

1. Introduction

This paper only covers the data obtained through the computer processing of IR-thermograms which had to be evaluated because of the IR-images gained from various measurements and the nature of the objectives [1, 4].

The methods of filtering can be grouped as follows: smoothing filters, sharpening filters, band filters, gradient filters. It is important to emphasise that after the filters are applied, the colours and temperatures indicated in the resultant image have no relation to the actual temperatures but to the physical essence of filtering method selected. The illustrations for the infra-red image analysis are taken from the electronics industry (see Figs. 1.a. and 1.b.).

2. Generalities

The principal objective of image enhancement techniques is to process an image so that the result should be more suitable for a specific application than the original image. In the IR-thermogrammetry the goal of the image processing is to obtain a new IR-image showing some thermal faults or singularities in the temperature field. It is to be noted that the image enhancement techniques are very much problem-oriented.

Generally, image enhancement methods are based on either spatial or frequency domain techniques. The spatial domain refers to the image plane itself, and approaches in this category are based on direct manipulation of pixels in an image. Frequency domain processing techniques are based on modifying the Fourier transform of an image. In this paper we use the spatial domain methods only.

3. Spatial domain methods of image filtering

The term spatial domain refers to the aggregate of pixels composing an image, and spatial domain methods are procedures that operate directly on these pixels. Image processing functions in the spatial domain may be expressed as

g(x,y)=T[f(x,y)]									  (1)

where f(x,y) is the input image, g(x,y) is the processed image, and T is an operator on f, defined over some neighbourhood of (x,y).

One of the principal approaches in the formulation (1) is based on the use of so-called masks (also referred to as templates, windows, or filters). Basically, a mask is a small 2D array, in which the values of the coefficients determine the nature of the process, such as e.g. sharpening. Enhancement techniques based on this type of approach often are referred to as mask processing or filtering.

4. Smoothing filters

Smoothing filters are used for blurring and for noise reduction. Blurring is used in preprocessing steps, such as removal of small details from an image prior to (large) object extraction, and bridging of small gaps in lines or curves. Noise reduction can be accomplished by blurring with a linear filter and also by nonlinear filtering.

4.1. Neighbouring filter („nha-fi”)

In this filtering function the value of the pixel is calculated by averaging the values of the neighbouring pixels. Either four or eight neighbouring pixels can be included.

For four pixels the equation is defined as follows:

(2)

In the above equation g(x,y) is the modified pixel and f(n,m) is the neighbouring pixel.

5. Sharpening filters

The principal objective of sharpening is to highlight five details in an image or to enhance detail that has been blurred, either in error or as a natural effect of a particular method of image acquisition. Uses of image sharpening vary and include applications ranging from electronic printing and medical imaging to industrial inspection and detection some thermal faults on a printed circuit in electronic technology.

5.1. Derivative filters

Averaging of pixels over a region tends to blur detail in an image. As averaging is analogous to integration, differentiation can be expected to have the opposite effect and thus sharpen an image. The most common method of differentiation in image processing applications is the gradient.

5.1.1. Gradient filter („grad fi”)

The gradient filter assesses a pixel with regards to the numerical difference to its neighbouring pixels. Either of two different gradient equation can be selected:

a.) „common” gradient equation („normal gradient”) and

b.) the so-called „Roberts” gradient equation („Roberts gradient”).

They differ in how the neighbouring pixels are viewed.

Normal gradient

The gradient (difference) equation is defined as follows:

g(x,y)=[f(x,y)-f(x+1,y)]+[f(x,y)-f(x,y+1)]					  (3)

The result g(x,y) replaces f(x,y).

Roberts gradient

The gradient equation is defined as follows:

g(x,y)=[f(x,y)-f(x+1,y+1)]+[f(x+1,y)-f(x,y+1)]					  (4)

The result g(x,y) replaces f(x,y).

In both gradient filter functions the calculated value of the pixel can be modified by further parameter options.

6. Matrix filter („mat fi”)

Within this function three filter sub-functions are available: a.) low-pass, b.) high-pass, c.) user. The matrix filter works according to the following mathematical operation. The pixel value of a 3x3 matrix is replaced by the relation:

(5)

where F and H represents the image matrix and the convolution matrix, respectively, according to the relation H=H’/hd. H’ represents the weight matrix.

6.1. Sobel filter („Sobel”)

The Sobel filter is a special matrix filter which is particularly suitable for recognizing contours. The results are similar to those achieved with the gradient filter (see section 5.1.1).

In the Sobel filter the gradient equation is as follows:

(6)

where w1 is the 3x3 weight matrix the user has to define, w1t the weight matrix transposed from w1, and x is the 3x3 image section matrix. For pixel modification the centre pixel of the image section matrix x is replaced. This is always taken from the original image.

7. Analysis of thermal singularities of an IC

In this section we present several techniques for the enhancement and evaluation of IR-images. The illustrations are taken from the field of IC-techniques (Fig.1).

Examples for the filtering are in Fig. 2b. (Sobel) and applied Roberts gradient to Fig. 2b. we get the thermal singularities in Fig. 2c. The result of low-pass „mat-fi” on a detail of Fig. 2a. is in Fig. A. (coloured plate).

Some common evaluation for analysis of chip side (Fig. 1b.) are presented in Fig.3.

8. Conclusion

The topic presented in this paper is representative of techniques that we commonly used in practice for digital IR-image enhancement. However, this area of image processing basically problem-oriented, and dynamic field in the literature, too. For this reason, the methods included is this paper have to select for the topic and the goal of the thermal analysis.

REFERENCES

[1]	BENKŐ (I.) - Energetical and other applications of thermogrammetric CAD (in Hungarian), Mérés és Automatika, 37(1), 69-73 and 1989, pp. 99-102.

[2]	BENKŐ (I.) - Industrial application and effects of 'ENECOAT' to increase surface emissivity. ENCONET Newsletter (UNDP/UNIDO Project Industrial Energy Conservation Network), 3(1), 1990, pp.3-8.

[3]	BENKŐ (I.) - Energy conservation through increased emissivity in furnaces, Periodica Polytechnica, Budapest, Ser. Mech. Eng., 35(4), 1991, pp. 235-245.

[4]	BENKŐ (I.) - Applications of infrared thermogrammetry in thermal engineering. Quantitative Infrared Thermography (QIRT 92), Eurotherm Séries No.27., Editions Européennes Thermique et Industrie, Paris, 1992, pp. 343-349.

Fig. 1.	Photo of the component side (a.) and the chip side (b.) of an IC

Fig. 2.	Series of IR images concerning to the filtering of Fig. 1a.:

a.) original IR image, b.) first and c.) second steps of the filtering

Fig. 3.	Common evaluation of IR images of chip side:

a.) line thermograms, b.) histogram and c.) relief

Fig. A.	IR-image filtering of a detail of Fig. 2a.