Mathematical model for simulation of defects under material surface applied to thermographic measurements

by I. Boras, S. Svaic, A. Galovic

Faculty of Mechanical Engineering and Naval Architecture, University of Zagreb, 10 000 Zagreb, Croatia

Abstract

The paper presents the mathematical model for simulation the heat conduction process in the object  with defects under material surface. The model is based on the control volume numerical method. The simulation was carried out for defined start and boundary conditions on the model of known geometry and defects under the material surface. The defects are in the form of cylinders containing air. They are placed on different depth from the observing surface and have different dimensions. The analysis was carried out in time and amplitude domain. The results of the thermographic measurements taken on the real model having the same characteristic are given too. Using the data obtained from the thermograms and numerical simulation it is possible to define the geometrical characteristic of the defects by means of the inverse procedure.

1. Introduction

The TNDT method is based on thermal stimulation of the specimen, and measurement of its response in space and time domain (=( (x,y,z,t). The problem of the defects detection under the material surface can be solved experimentally and theoretically. The experiment is based on thermographic measurement of the temperature distribution on the referent surface in time. The theoretical part is related to the solution of the heat conduction problem in 1D, 2D or 3D co-ordinates in time domain [ 1 ].

The defects under material surface can be signed as the place of the considerable change of thermodynamical properties. This change reflects on surface temperature distribution. In the research the models with defects under material surface are investigated. In theoretical part of the research the numerical method (the method of control volume) is applied. The theoreticaly and experimentaly obtained results are presented and compared.

2. Geometrical characteristic of the model and parameters of the process

The real model with defects under the material surface is made of steel with known thermodinamical properties. The defects are in a form of cylinders with equal diameters placed on different depth. Figure 1 shows the ground plate with defects.

The analysis is carried out for parameter - current contrast defined with equation (1), [ 2 ]:

(1)

and the results of the analysis are presented in the amplitude and time domain.

3. Results

3.1 The results of the experiment

Figure 2 shows the experimental rig. The thermal stimulation of the object is obtained with constant heat flux (using the lamp of 500 W). The model is positioned in the frame with isolation to protect the heat loses from the side of the model.

The surface temperature distributions are registered by thermo camera “AGA 680 STANDARD“ in defined time steps. On the model there are two thermocouples placed on different depth. They enable the control of the temperatures on referent positions and their comparison with the numerical results.

The experimental results of the surface temperature distribution in defined time steps are presented on series of thermograms. Figure 3 shows the surface temperature distribution at 240 s.

The analysis of the experimental results leads to the following conclusion; the time when the current contrast reaches the maximum is the key parameter for the analysis because it is the measure for the defects depth. This conclusion corresponds to the results published in the literature [ 3 ].

3.2 The results of numerical simulation

The numerical analysis is based on differential equation of heat conduction in Cartesian co-ordinates (2):

(2)

By implicit discretisation of equation (2) it is obtained [ 4 ]:

(3)

For each control volume the set of algebraic equations must be solved taking into consideration the start and boundary conditions (to be the same as in the experiment).

The results of the numerical simulation are the surface temperature distributions in defined time steps and coresponding contrast curves. Figure 4 shows the surface temperature distribution at 240 s.

The analysis of the results leads to the following conclusions [ 5 ]:

- the time of maximum contrast is related to the defect depth,

- the time of maximum contrast is influenced by presence of the other defects,

- in the case of more defects the time of maximum contrast depends on the surface point chosen for contrast calculation,

- in the case of only one defect the dependence between the time of maximum contrast and the chosen position disappears.

The relation between the time of maximum contrast and the defect depth is shown in figure 5.

3.3 The comparison between experimental and numerical results

The comparison is done between the temperatures measured by thermocouples and those calculated numerically. The correspondence between the results can be seen in figure 6.

4. Inverse procedure

The preliminary analysis of the temperature distribution on the specimen surface by amplitude gives the possibility to locate the defect under the specimen surface, as well as to evaluate the defect size. The relation between the time of maximum contrast and the defect depth gives the possibility to determine the hight of the defect. The unknown dimension of the defect is the dimension perpendicularly to the observed surface. This dimension can be evaluated using the inverse procedure by the analysis of the surface temperature distribution around the defect or by the temperatures on defined positions near the defect.

In this case the numerical simulation starts with supposition of the unknown dimension and must be corrected in each step. The correction is based on the difference between real and calculated temperature for the same position. It is necessary to repeat this procedure since the differences between measured and calculated temperatures reach the demanded accuracy.

The principle of the inverse procedure is shown in figure 7.

5. Conclusion

The numerical model of the heat conduction in the specimen containing the under surface defects can be a useful tool for the analysis of all influencing parameters (heat flux, dimensions of the defects, material properties, etc) on the results as well as their consequences on the specimen surface temperature distribution. Combination of thermography and numerical simulation gives the new possibilities in development of the TNDT methods.

REFERENCES

( 1 ( ALMOND (D.P.) and PATEL (P.M.). - Photothermal Science and Technique, London, Chapman & Hall, 1996.

( 2 ( Vavilov (V.). - Transient thermal NDT: conception in formulae, Quantitative Infrared Thermography, QUIRT 92, , Chatenay-Malabry, France, 1992, p. 229-234

( 3 (  Favro (L.D.), Han (X.), Kuo (P.K.) and Thomas (R.L.). - Imaging the early time behavior of reflected thermal-wavw pulses, Thermosense XVII, An International Conference on Thermal Sensing and Imaging Diagnostic Applications, Orlando, Florida, USA, 1995,  p. 162-166.

( 4 (  Patankar (S.V.). - Numerical Heat Transfer and Fluid Flow, Hemisphere Publishing Corporation, Washington, 1980.

( 5 ( Boras (I.) and Svaic (S.). - Determination of the Defect Parameters in Specimen by Means of Thermography and Numerical Methods, Proceeding of The International Society for Optical Engineering, San Antonio, Texas,USA, 1998, Vol. 3396, p.  271-281.

## Figure 4. Surface temperature distribution at 240 s

## Figure 5. The time of maximum current contrast versus defect depth

## Figure 6. Comparison between measured and calculated temperatures on defined positions

# Text boxes

Figure 7. Determination of the defect dimension z by inverse procedure

L

146

Figure 3. Thermogram at 240 s

Figure 1. The ground plate with defects

z5 z4  z3   z2   z1  z1

Tref 2

L

z

6

2

5          4         3

7        8

1

Figure 2. The experimental rig; 1 – thermographic equipment, 2 – infrared camera, 3 – lamp, 4 – canal, 5 – isolation, 6 – model, 7 – thermocouple on depth 12 mm, 8 – termocouple on surface

δ

Tref 1

q

155

18