Thermal Analysis on Internal and Surface Flaws by Means of Infrared Radiometer

by Yoshizo Okamoto1, Arao Kamoi1, Toshimitsu Ishii2

1 University of East Asia, Shimonoseki, Yamaguchi, Japan, 751-8503

2Japan Atomic Energy Research Institute, Oarai-machi, Higashi-Ibaraki-Gun, Ibaraki, Japan, 311-1394

# Abstract

Proven non-destructive tests had been widely used to detect invisible flaws. Those methods are not remote sensing and can not be applied in a severe environment. A thermal detection technique using the infrared radiometer is useful to detect the flaw, as the remote sensing devices. In this paper, an abnormal radiation temperature distribution of the test piece was measured to detect the internal flaw by the infrared radiometer. Detection limit of the flaws was obtained experimentally and analyzed numerically by means of analysis of the conductive heat flow around the flaw. The thermal image method represents thermal and detection behavior of surface and internal flaws using the infrared radiometer.

- Introduction

The proven non-destructive tests like PT, UT and RT had been widely used to detect the surface and internal flaws like pinhole, crack and inclusion. Those test methods are not remote sensing and can not be applied in the severe environment where a human being can not approach. A thermal detection technique using the infrared radiometer is useful to detect the flaw, as the remote sensing devices.1)

Principle of the infrared thermal image method is remarkably applied to detect invisible flaws by observing a distortion and transient phase difference of a surface temperature distribution using the infrared radiometer. The abnormal temperature above the flaw is generated by a different permeation speed of the medium including the flaw in case thermal properties of the medium and flaw are different. 2)

We classified the generated abnormal temperature distribution to the direction of heat flow on the surface. The vertical heating method represents that the heat is injected to normal direction of the surface like sun and radiation heater. The surface temperature distribution above the flaw becomes concave and convex by difference of a permeation speed of the test piece and flaw. The temperature deviation of the surface of the flaw is generated by transient change of the surface heat flux, heat transfer coefficient, thermal conductivity and diffusivity of the medium and flaw. 3)

The horizontal heating method represents that the conduction heat flow of the test piece generates the temperature deviation around the flaw along the surface. The surface temperature gradient around the flaw becomes nonuniform and discontinuous, because contraction and expansion flows are generated in the test piece with the flaw. 4)

Thermal behavior of the test piece including the surface and internal flaw was analyzed experimentally and numerically using the thermal image method.

- Experimental and numerical test result of vertical test piece with internal flaw using sun

The internal square flaw of the concrete wall was tested by means of solar heater. Vertical model test pieces are settled on the ground in the southern and northern direction respectively. The radiation temperature distribution of the test piece is measured by the infrared radiometer and the thermograph of the infrared radiometer is recorded in the personal computer at a constant time interval.

Fig.1 represents the experimental transient radiation temperature of the vertical surface of the southern and northern model pieces with internal flaws. The sun injects the heat energy to the surface of the southern wall in daytime and is cooled by an atmospheric air at the evening. The convex radiation temperature distribution of the southern surface is observed from 9 o’clock to 14 o’clock and becomes maximum at noon, as shown in Fig.1-a . As the solar heat flux decreases in the afternoon, the heated surface of the tested piece releases the heat to the atmospheric air. The radiation temperature distribution of the southern surface becomes concave at the evening and is cooled by radiation and convection to the atmosphere. As shown in Fig.1-b, the temperature of the northern wall is similar to that of the southern wall. But the temperature rise of the northern wall is smaller than that of the southern wall.

Fig.2. shows the transient radiation temperature difference of the vertical southern and northern wall surface ΔTc, = Tc,- Ts, , where Tc, is the surface radiation temperature above the center of the internal flaw and Ts, is that of the surface without the internal flaw. The temperature difference ΔTc, increases before noon and becomes maximum at noon. And ΔTc, decreases in the afternoon and becomes minus in the evening. The temperature difference of the northern wall ΔTc,is smaller than that of the southern wall, as shown in Fig.2-b.

3. Experimental and numerical result of test piece with internal flaw using artificial heater

The heat of the test piece with the flaw flows vertically and horizontally at the surface, using the artificial heater. Fig.3 shows an analytical two-dimensional model of vertical and horizontal heating for our numerical calculation.

The vertical heating method represents that the heat flows normally to the surface. Side and back walls of the internal square flaw are insulated and the temperature gradient normal to the walls becomes zero. The heat injected on the surface is transmitted to the inside space by the heat conduction. The horizontal heating represents that the heat flows to the parallel direction along the surface by thermal conduction. Temperatures of right and left walls are kept constant to T1 and T 2 respectively.

Fig.4 shows the test apparatus of the vertical and horizontal heating methods. 3) The test piece with surface and internal flaws is heated by the artificial lamp and electric resistance heaters. The transient radiation temperature distribution of the test piece by the vertical heating method is measured by the Hg-Cd-Te infrared radiometer. The test piece is connected to the electric heater at the one side and the water cooler at the other side by horizontal heating method. The heat flows along the surface from the heater to the cooler by thermal conduction. The infrared radiometer is used to detect the location of the discontinuous and polygonal temperature distribution.

Fig.5 shows the radiation temperature distribution of the surface of the acrylic test pieces with internal air and water flaws at the vertical heating. As the thermal conductivity of the acrylic test pieceλA is larger than that of  the air flaw λB, the conduction heat mainly flows the acrylic test piece with the air flaw and the temperature distribution above the flaw becomes convex because of contraction flow of the acrylic test piece, as shown in Fig.5-a). The temperature distribution of the surface with the water flaw becomes concave because of expansion flow of the acrylic test piece with the water flaw, as shown in Fig.5-b).

Fig.6 shows the transient temperatures Tc, Ts and its temperature difference ΔTc of the acrylic test piece with internal air and water flaws. The surface temperature Tc above the air flaw is larger than that of without the flaw Ts, as shown in Fig. 6-a).The temperature difference ΔTc= Tc -Ts is positive and gradually increases. The surface radiation temperatures above the after flaw Tc is smaller than that without the flaw Ts, as shown in Fig 6-b.Temperature difference ΔTc is negative and gradually increases. It is remarked that the surface temperatures and its difference with air and water flaws are not equal by the difference of the thermal conductivies λA and λB.

## Table 1 represents the summary result of the heat flow and generated temperature, which depends on difference of the thermal conductivity of the test piece and internal flaw. The heat flow pattern and generated temperature difference are mainly determined by the difference of  the thermal conductivities of the test piece and internal flawλA and  λB, as shown in the table. It is remarked that transient heat flow and generated temperatures during heating process become reverse in case of cooling process.

Temperature deviation and discontinuity above the flaw by the horizontal heating method are generated by the conduction heat flows around the flaw along the surface. The temperature gradient around the flaw becomes nonuniform and stepwise, because contraction and expansion flows are generated in the test piece with the flaw.

Fig.7 shows the surface temperature distribution of the acrylic test pieces with internal air and water flaws by the horizontal heating method. The polygonal temperature gradient above the air cavity flaw becomes larger than that without the flaw, because the contraction heat flows along the acrylic plate with the air cavity flaw, as shown in Fig.7-a). The polygonal temperature gradient above the water cavity flaw becomes smaller than that without the cavity flaw, because the expansion heat flows along the acrylic plate with the water flaw, as shown in Fig.7-b).

Table 2 shows the experimental and numerical temperature difference of surface and internal flaws ΔTc by horizontal heating method, as shown in Fig.7. Upper data are obtained by experiment and under parenthesis data by numerical calculation respectively.  The polygonal temperature difference ΔTc becomes smaller with increase in the width and decrease in the depth. Experimental and numerical temperature differences are similar to each other.

4. Conclusion

Thermal property around the surface and internal flaw was analyzed experimentally and numerically using the thermal image method.

The generated abnormal temperature distribution is classified to the direction of heat flow on the surface, so called vertical and horizontal heating method.

When the heat is injected to normal direction of the surface, the surface temperature distribution above the flaw becomes concave and convex by the vertical heating method.

Polygonal temperature gradient is generated by the conduction heat flows around the flaw along the surface by the horizontal heating method, because contraction and expansion heat flows are generated in the test piece across the flaw.

Thermal image method is useful to analyze heat transfer mechanism around the flaw and evaluate detection limit of the surface and internal flaw.

## REFERENCES

[1] Okamoto (Y.), Ishii (T.) et al. - Remote-sensing thermal image method. Tokyo, Corona publisher, 1995, p.1-173

[2] Okamoto (Y.), Inagaki (T.) et al. -Remote-sensing study of detection of flaws in structural material. Thermosense 14, SPIE Proc.1933,1993, p.215-224

[3] Okamoto (Y.),Ishii (T.) et al. -Detection limit of flaw in material using infrared radiometer influence on direction of heat flow.  Japan Soc. of NDT,41, 7,1992, p.398-403

[4] Okamoto (Y.),Inagaki (T.) et al. -Detection of non-uniform space in material using thermal image method. Bull. Japan Soc. of Mech. Engineering. B60, 573,1994, p.238-245

distance (mm)

a) southern wall                                             b) northern wall

Fig.1 Experimental transient radiation temperature of vertical wall surface (τ ; time (o'clock))

a) southern wall                                                   b) northern wall

## Fig.2 Transient radiation temperature difference of vertical wall surface

heat flux                                                                heat flow →

a) vertical heating                    b) horizontal heating

## Fig.3 Analytical model

a) vertical heating method                 b) horizontal heating method

# Fig.4 Test apparatus

## Fig.5 Radiation temperature distribution

a) air flaw                                                      b) water flaw

# Fig.6 Transient temperature and its difference of acrylic test piece with internal flaw

Table 1 Heat flow and generated temperature depending on thermal conductivity

distance (mm)                                                     distance (mm)

a) air cavity flaw                                                 b) water cavity flaw

## Fig.7 Surface temperature distribution of acrylic test piece by horizontal heating

Table 2 Experimental and numerical temperature difference of surface and internal flaws by horizontal heating

a) internal flaw

| width b (mm) | depth h (mm) |
| --- | --- |
|  | 1.0 | 2.0 | 5.0 |
| 1.0 | 0.40 (0.4) | 0.55 (0.6) | 1.0 (1.0) |
| 2.0 | 0.29 (0.3) | 0.39 (0.4) | 0.66 (0.8) |
| 3.0 | 0.23 (0.2) | 0.30 (0.3) | 0.50 (0.5) |
| 4.0 | 0.19 (0.1) | 0.24 (0.2) | 0.41 (0.3) |

b) surface flaw

| width b (mm) | depth h (mm) |
| --- | --- |
|  | 1.0 | 2.0 | 5.0 |
| 1.0 | 0.50 (0.4) | 0.63 (0.8) | 1.0 (1.0) |
| 2.0 | 0.43 (0.2) | 0.50 (0.4) | 0.73 (0.6) |
| 3.0 | 0.36 (0.2) | 0.42 (0.4) | 0.59 (0.6) |
| 4.0 | 0.30 (0.1) | 0.35 (0.2) | 0.49 (0.6) |

experiment

(calculation)